## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
24 Amelia Walk
Benwell
Newcastle Upon Tyne
NE4 8LZ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-37591
DATE OF REPORT: 14/09/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-37591
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 24 Amelia Walk
Benwell
Newcastle Upon Tyne
NE4 8LZ
Carried Out On | 14/09/2023
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Planned survey for boiler install

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-37591
SECTION 3: Report
Images Required ( All images are Mandatory ) Boiler image showing the whole installation inc pipework - Flue route within loft space or boxing -horizontal Flue termination inc roof if vertical -no Condensate Termination -internal Prv Termination -external Radiators within the property inc valves -3 Fuse Board -internal Gas Meter -external Stop Tap -in kirchen Boiler & Alarms Section Upstairs Smoke Alarm Location & Date -none Downstairs Smoke Alarm Location & Date -passage 12/24 Heat Alarm Location & Date -none Co Alarm Location & Date -kitchen 10/31 Boiler to be removed -worcester Boiler Serial number -none on boiler Job Type – Conversion / boiler replacement / full heating - Combi / heat only / system boiler -combi Boiler location -kitchen Is 22mm gas pipe visible at boiler -yes Flue type ( Vertical / Horizontal ) - horizontal No of Flue Extensions - none No of Flue 45 -none No of Flue 90's -1 Scaffolding required -no Flue guard needed -yes Standoff kit required -yes Gas meter internal / external –external Condensate Requirements Is a Condensate pump required ( Yes / No ) -no Condensate current termination currently acceptable ( Yes / No ) -yes internal If no what needs to be amended to bring it up to regs ?none Is the condensate currently through the wall in 19 or 32mm ? Internal Number of radiators at the property -3 Current radiator valve size and type i.e 15mm valve incorporating stem elbow to 10mm pipework - 15mm Size of pipework at radiators -15mm Number of bathrooms -1 Electric shower -no Any other means of heating -none Current Cooker Type – Electric / Gas electric Current Fire Type – Electric / Gas none

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-37591
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37591
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37591
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37591
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37591
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes