## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
5 Oak Terrace
Pelton
Chester-le-Street
DH2 1NG
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-37629
DATE OF REPORT: 21/09/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-37629
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 5 Oak Terrace
Pelton
Chester-le-Street
DH2 1NG
Carried Out On | 21/09/2023
Survey Completed By | John Bolton
SECTION 2: Introduction
Investigate & Report on heating system - Continual drop of pressure. Carry out investigation and report to Chris Warwick

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-37629
SECTION 3: Report
JB- 21/09/23 - Firstly I drained the system down and checked expansion vessel was working correctly. Ran system, waited for it to check all radiators for leaks. Then drained down the boiler again and removed prv as there was signs of it passing outside, cleaned off all debris and re greased. Filled system and tested all working ok.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-37629
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37629
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37629
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37629
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37629
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes