## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
10 Woodlea Crescent
Hexham
NE46 1EB
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-37635
DATE OF REPORT: 19/09/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-37635
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 10 Woodlea Crescent
Hexham
NE46 1EB
Carried Out On | 19/09/2023
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-37635
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -lan0230 Downstairs Smoke Alarm Location & Date -hall1029/ Heat Alarm Location & Date -none Co Alarm Location & Date -kit0732 Co Alarm Replaced - Yes/No no Boiler to be removed -Vailiant ecotec plus 831 Boiler Serial number – Job Type – Conversion / boiler replacement / full heating -boiler replacement Combi / heat only / system boiler -combi Boiler location -kitchen Is 22mm gas pipe visible at boiler -no Flue type – horizontal / If vertical please note amount of extensions and flue bends MUST BE ACCURATE Any access requirements to access flue -no Flue guard needed -no Standoff kit required -no Gas meter internal / external –internal Condensate Condensate pump required – Yes/No no Condensate current termination acceptable yes or no -no If no what needs to be amended to bring it up to regs ? Needs upgrading to 32mm Is the condensate currently through the wall in 19 or 32mm ? 19 Number of radiators -7 Size of pipework at radiators -15mm Number of bathrooms -1 Electric shower -none Any other means of heating -electric fire Current Cooker Type – Electric / Gas gas Current Fire Type – Electric / Gas electric

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-37635
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37635
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37635
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37635
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37635
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes