## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
21 Ashdale Road
Consett
County Durham
DH8 6AU
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-37736
DATE OF REPORT: 21/09/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-37736
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 21 Ashdale Road
Consett
County Durham
DH8 6AU
Carried Out On | 21/09/2023
Survey Completed By | Paul Sherwood
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-37736
SECTION 3: Report
Boiler image showing the whole installation inc pipework - Flue route within loft space or boxing - Chimney breast Flue termination inc roof if vertical - Vertical Condensate Termination - N/A Prv Termination - N/A Radiators within the property inc valves - 15mm - 8mm Fuse Board - Customers dining Room. Gas Meter - External Stop Tap - Sticking out Left hand cupboard near sink. Boiler & Alarms Section Upstairs Smoke Alarm Location & Date - N/A bungalow Downstairs Smoke Alarm Location & Date - Entrance Mar-33, Lounge Mar-33 Heat Alarm Location & Date - Kitchen Sep-32 Co Alarm Location & Date - Lounge Feb-230 Boiler to be removed - Baxi Bermuda W Boiler Serial number - 59669 Job Type – boiler replacement - heat only Boiler location - Behind fire in lounge Is 22mm gas pipe visible at boiler - No, 15mm Flue type ( Vertical / Horizontal ) - Vertical No of Flue Extensions - Vertical in chimney No of Flue 45 - 0 No of Flue 90's - 0 Scaffolding required - Nope Bungalow Flue guard needed - No Standoff kit required - No Gas meter internal / external – External back garden. Condensate Requirements Is a Condensate pump required ( Yes / No ) - Maybe depending on new location Condensate current termination currently acceptable ( Yes / No ) - N/A If no what needs to be amended to bring it up to regs ? Is the condensate currently through the wall in 19 or 32mm ? N/A Number of radiators at the property - 5 Current radiator valve size and type i.e 15mm valve incorporating stem elbow to 10mm pipework - 15mm valve 8mm pipework. Size of pipework at radiators - 8mm Copper microbore Number of bathrooms - 1 Electric shower - Yes Any other means of heating - Current Cooker Type – Gas Current Fire Type – Gas

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-37736
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37736
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37736
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37736
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37736
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes