## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
26 Bradley Road
West Wylam
Prudhoe
NE42 5EQ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-37744
DATE OF REPORT: 22/09/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-37744
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 26 Bradley Road
West Wylam
Prudhoe
NE42 5EQ
Carried Out On | 22/09/2023
Survey Completed By | Paul Sherwood
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-37744
SECTION 3: Report
Boiler image showing the whole installation inc pipework - Flue route within loft space or boxing - NA Flue termination inc roof if vertical - Vertical Condensate Termination - N/A Prv Termination - okay Radiators within the property inc valves - 15mm valve, 8mm pipework Fuse Board - Internal Kitchen Cupboard Gas Meter - Internal Kitchen Cupboard Stop Tap - Yes under Kitchen sink works fine Boiler & Alarms Section Upstairs Smoke Alarm Location & Date - not applicable Bungalow Downstairs Smoke Alarm Location & Date - sitting room July 2031, July 2031 Heat Alarm Location & Date - July 2031 Co Alarm Location & Date - Kitchen June 2031 Boiler to be removed -Vaillant turbomax vuw Boiler Serial number -04003063060010218594 Job Type – boiler replacement Combi Boiler location - Kitchen Is 22mm gas pipe visible at boiler - Yes Flue type ( Vertical / Horizontal ) - Vertical No of Flue Extensions - 0 No of Flue 45 -0 No of Flue 90's -0 Scaffolding required - No Flue guard needed - No Standoff kit required - No Gas meter internal / external – kitchen cupboard internal Condensate Requirements Is a Condensate pump required ( Yes / No ) - no Condensate current termination currently acceptable ( Yes / No ) - not applicable If no what needs to be amended to bring it up to regs ? Is the condensate currently through the wall in 19 or 32mm ? Not applicable Number of radiators at the property - 5 Current radiator valve size and type i.e 15mm valve incorporating stem elbow to 10mm pipework - 15mil to 8 mil pipe work Size of pipework at radiators - 8mm micrbore copper Number of bathrooms - 1 Electric shower - Yes Any other means of heating - No Current Cooker Type – Electric Current Fire Type – not applicable Full Heating Section ( Measure pipe and trunking accurately ) 22mm Pipe Required in meters - 1 15mm Pipe Required in meters - 1 Talon Trunking 15mm double required - 0 Talon Trunking 22mm double required -0 Talon Trunking external corners & Size - na Talon Trunking internal corners & Size - na Talon Trunking End Caps & Size - na Talon Trunking connectors & Size - na

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-37744
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37744
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37744
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37744
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37744
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes