## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
5 Biverfield Road
West Wylam
Prudhoe
NE42 5ER
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-37745
DATE OF REPORT: 22/09/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-37745
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 5 Biverfield Road
West Wylam
Prudhoe
NE42 5ER
Carried Out On | 22/09/2023
Survey Completed By | Paul Sherwood
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-37745
SECTION 3: Report
Boiler image showing the whole installation inc pipework - Flue route within loft space or boxing - N/A Flue termination inc roof if vertical - Horizontal Condensate Termination - no needs lagging terminates into stack Prv Termination - Yes fine Radiators within the property inc valves - Fuse Board - In with boiler cupboard Gas Meter - back garden Stop Tap - Yes works fine Boiler & Alarms Section Upstairs Smoke Alarm Location & Date - Landing Jul 28 Downstairs Smoke Alarm Location & Date - sitting room December 2031 Heat Alarm Location & Date - None Co Alarm Location & Date - December 2028 Boiler to be removed - Vaillant EcoTec Pro 28 Boiler Serial number - 21204900100218371400333730N9 Job Type – boiler replacement - Combi Boiler location - Kitchen cupboard Is 22mm gas pipe visible at boiler - Yes Flue type ( Vertical / Horizontal ) - Horizontal No of Flue Extensions - 0 No of Flue 45 - 0 No of Flue 90's - 0 Scaffolding required - No Flue guard needed - No Standoff kit required - No Gas meter internal / external – external Condensate Requirements Is a Condensate pump required ( Yes / No ) - No Condensate current termination currently acceptable ( Yes / No ) - If no what needs to be amended to bring it up to regs ? Is the condensate currently through the wall in 19 or 32mm ? 32mm Number of radiators at the property - 7 Current radiator valve size and type i.e 15mm valve incorporating stem elbow to 10mm pipework - Size of pipework at radiators - 15mm valve with 10microbore copper Number of bathrooms - 1 Electric shower - No shower only bath Any other means of heating - Current Cooker Type – Electric Current Fire Type – na Full Heating Section ( Measure pipe and trunking accurately ) 22mm Pipe Required in meters - 1 15mm Pipe Required in meters - 1 Talon Trunking 15mm double required - 0 Talon Trunking 22mm double required - 0 Talon Trunking external corners & Size - 0 Talon Trunking internal corners & Size - 0 Talon Trunking End Caps & Size - 0 Talon Trunking connectors & Size - 0

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-37745
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37745
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37745
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37745
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37745
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes