## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
40 Adderlane Road
West Wylam
Prudhoe
NE42 5HS
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-37746
DATE OF REPORT: 22/09/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-37746
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 40 Adderlane Road
West Wylam
Prudhoe
NE42 5HS
Carried Out On | 22/09/2023
Survey Completed By | Paul Sherwood
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-37746
SECTION 3: Report
Boiler image showing the whole installation inc pipework - Flue route within loft space or boxing - N/A Flue termination inc roof if vertical - Horizontal Condensate Termination - Back wall above drain Prv Termination - Fine Radiators within the property inc valves - 15mm Valves 10mm pipework Fuse Board - Cupboard under stairs Gas Meter - outside right side of house Stop Tap - Under sink works fine Boiler & Alarms Section Upstairs Smoke Alarm Location & Date - Landing May-29 Downstairs Smoke Alarm Location & Date - Hallway May-29 Heat Alarm Location & Date - None Co Alarm Location & Date - Washer drying room Mar 32 Boiler to be removed - vaillant ecotec pro 28 Boiler Serial number - 21131600100116901300137123N0 Job Type – boiler replacement - combi Boiler location - 1st floor washer and drying room Is 22mm gas pipe visible at boiler - No Flue type ( Vertical / Horizontal ) - Horizontal No of Flue Extensions - 0 No of Flue 45 - 0 No of Flue 90's - 0 Scaffolding required - No Flue guard needed - No Standoff kit required - No Gas meter internal / external – external Condensate Requirements Is a Condensate pump required ( Yes / No ) - No Condensate current termination currently acceptable ( Yes / No ) - No If no what needs to be amended to bring it up to regs ? Lagging Is the condensate currently through the wall in 19 or 32mm ? 40mm Number of radiators at the property - 6 Current radiator valve size and type i.e 15mm valve incorporating stem elbow to 10mm pipework - Size of pipework at radiators - 6 Number of bathrooms - 1 Electric shower - No Any other means of heating - Current Cooker Type – Gas Current Fire Type – None Full Heating Section ( Measure pipe and trunking accurately ) 22mm Pipe Required in meters - 1 15mm Pipe Required in meters - 1 Talon Trunking 15mm double required - 0 Talon Trunking 22mm double required - 0 Talon Trunking external corners & Size - 0 Talon Trunking internal corners & Size - 0 Talon Trunking End Caps & Size - 0 Talon Trunking connectors & Size - 0

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-37746
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37746
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37746
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37746
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37746
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes