## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
22 Milton Grove
Prudhoe
Northumberland
NE42 6JL
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-37748
DATE OF REPORT: 22/09/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-37748
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 22 Milton Grove
Prudhoe
Northumberland
NE42 6JL
Carried Out On | 22/09/2023
Survey Completed By | Paul Sherwood
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-37748
SECTION 3: Report
Boiler image showing the whole installation inc pipework - Flue route within loft space or boxing -Within loft, no ladder or boarding Flue termination inc roof if vertical - Vertical Condensate Termination - Into ground, termination not visible Prv Termination - goes into ground under floor boards not visible Radiators within the property inc valves -15mm Valves 15mm pipework Fuse Board - Cupboard near back door Gas Meter - front of house Stop Tap - Yes works fine under the sink Boiler & Alarms Section Upstairs Smoke Alarm Location & Date - na bungalow Downstairs Smoke Alarm Location & Date - sitting room Jan 2030 Heat Alarm Location & Date - None Co Alarm Location & Date - Jan 2030 Boiler to be removed -vaillant ecotecpro 28 Boiler Serial number -21204600100218371300235591N4 Job Type – boiler replacement combi Combi / heat only / system boiler - combi Boiler location - sitting room Is 22mm gas pipe visible at boiler - Yes Flue type ( Vertical / Horizontal ) - Vertical No of Flue Extensions - 1 No of Flue 45 - 2 No of Flue 90's - 0 Scaffolding required - No Bungalow Flue guard needed - No Standoff kit required - No Gas meter internal / external – external Condensate Requirements Is a Condensate pump required ( Yes / No ) - No Condensate current termination currently acceptable ( Yes / No ) - not visible If no what needs to be amended to bring it up to regs ? Able to see the condensate Is the condensate currently through the wall in 19 or 32mm ? Not visible Number of radiators at the property - 4 Current radiator valve size and type i.e 15mm valve incorporating stem elbow to 10mm pipework - 15mm valve 10mm pipe work Size of pipework at radiators - 15mm valve 10mm pipe work Number of bathrooms - 1 Electric shower - No Any other means of heating - Electric fire Current Cooker Type – gas Current Fire Type – Electric Full Heating Section ( Measure pipe and trunking accurately ) 22mm Pipe Required in meters - 1 15mm Pipe Required in meters - 1 Talon Trunking 15mm double required - 0 Talon Trunking 22mm double required - 0 Talon Trunking external corners & Size - 0 Talon Trunking internal corners & Size - 0 Talon Trunking End Caps & Size - 0 Talon Trunking connectors & Size - 0

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-37748
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37748
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37748
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37748
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37748
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes