## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
12 Fleming Court
Haltwhistle
Northumberland
NE49 9HD
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-37765
DATE OF REPORT: 16/01/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-37765
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 12 Fleming Court
Haltwhistle
Northumberland
NE49 9HD
Carried Out On | 25/09/2023, 05/10/2023, 13/10/2023, 16/01/2024
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-37765
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - Y or N/A Existing Cylinder & Tanks - Y or N/A Existing Flue Run - Y or N/A Existing Controls- Y or N/A Stop Tap - Y or N/A Gas Meter- Y or N/A Distribution Board - Y or N/A Existing Condensate - Y or N/A New Condensate Termination- Y or N/A Existing PRV Termination - Y or N/A New PRV Termination - Y or N/A Smoke Alarms - Y or N/A Co2 Alarms - Y or N/A Existing poor condition radiators – Y or N/A Scaffolding location - Y or N/A Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) - house Smoke Alarm Locations - hall /landing Co Alarm Location - kitchen Distribution Pannel Location - downstairs toilet Existing heating control location - bottom of stairs Existing supply (Natural Gas / LPG / Oil) - natural gas Solar Thermal (Yes / No) no Existing Boiler Make & Model -baxi platinum Existing Boiler serial number - Existing Boiler Location -kitchen Existing Boiler Type (Combi / Heat Only / System boiler) - combi Install Type (Full Heating / Conversion / Boiler Replacement) - boiler replacement New Boiler Location - kitchen Stand off kit required - yes New Flue (Horizontal / Vertical) -horizontal Flue Materials Required - 0 Scaffolding required - 0 Gas Meter location (Internal / External) -external Stop tap location - kitchen under sink Stop tap working (Yes / No) - yes Existing condensate termination location - into kitchen sink New Condensate termination location - same as old one Condensate materials required - o Condensate Pump (Yes / No) - no Pressure relief termination location - outside Number of Bathrooms - 1 Number of thermostatic Showers - 0 Number of electric Showers -1 Total number of existing radiators -9 Current Cooker (Gas / Electric) - electric Current Fire (Gas / Electric) -none Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) - 10mm Existing Pipework type (Copper / Speed fit / Hep) - coop Is Speed fit / Hep Barrier protected (Yes / No) - Existing Rad Valve Sizes (8mm / 10mm / 15mm) - 15-10mm Existing TRVS installed (Yes / No) - yes Existing double lock shield radiator (Yes / No) - no Talon Trunking requirements – 0 Radiators Existing Lounge Rad Size - 1100x500 Room Length x Width x Height (In meters) - Max New size if applicable - 4.3x3.7x2.2 Existing Kitchen Rad Size - 1300x700 Room Length x Width x Height (In meters) - 3.6x3.2x2.2 Max New size if applicable - n/a Existing Hall Rad Size - 700x500 single panel Room Length x Width x Height (In meters) - 1.1x1.5x2.3 Max New size if applicable - 700x500 Existing Dining Room Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Bathroom Rad Size - 1000x700 single panel very rusty Room Length x Width x Height (In meters) -2.6x1.9x2.3 Max New size if applicable - Existing Bed 1 Rad Size - 700x700 single panel Room Length x Width x Height (In meters) - Max New size if applicable - 2.8x3.6x2.3 Existing Bed 2 Rad Size - 700x700 single panel Room Length x Width x Height (In meters) -3.9x2.0x2.3 Max New size if applicable - Existing Bed 3 Rad Size - 700x500 Room Length x Width x Height (In meters) -2.9x2.4x2.3 Max New size if applicable - Existing other Rad Size (state location) -800x700 bottom of stairs Room Length x Width x Height (In meters) - Max New size if applicable - NA Existing other Rad Size (state location) - Room Length x Width x Height (In meters) - Max New size if applicable - Existing other Rad Size (state location) - Room Length x Width x Height (In meters) - Max New size if applicable - Any Other notes Radiator trv below stairs will need replaced as pin was stuck unstuck pin trv still not working

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-37765
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37765
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37765
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37765
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37765
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes