## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
6 Kingsway
Langley Park
Durham
DH7 9TB
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-37773
DATE OF REPORT: 22/09/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-37773
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 6 Kingsway
Langley Park
Durham
DH7 9TB
Carried Out On | 22/09/2023
Survey Completed By | Paul Sherwood
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-37773
SECTION 3: Report
Boiler image showing the whole installation inc pipework - Flue route within loft space or boxing - inside chimney breast Flue termination inc roof if vertical - Vertical Condensate Termination - na Prv Termination - na Radiators within the property inc valves - Fuse Board - storage cupboard Gas Meter - External Stop Tap - Yes works fine behind bottom drawer Kitchen Boiler & Alarms Section Upstairs Smoke Alarm Location & Date - na Downstairs Smoke Alarm Location & Date - January 2034 sitting room , Hallway Jan-34, Porch Jan-34, back door Jan 34 Heat Alarm Location & Date - February 2034 Kitchen Co Alarm Location & Date - June 2026 sitting room Boiler to be removed - BAXI Bermuda 45/4M Boiler Serial number - GC Num 47-077-71 Job Type – boiler replacement heat only Combi / heat only / system boiler - heat only Boiler location - sitting room behind fire Is 22mm gas pipe visible at boiler - No 15mm Flue type ( Vertical / Horizontal ) - Vertical No of Flue Extensions - Depends on location of new boiler. No of Flue 45 - Depends on location of new boiler. No of Flue 90's - Depends on location of new boiler. Scaffolding required - No Flue guard needed - No Standoff kit required - No Gas meter internal / external – external Condensate Requirements- na Is a Condensate pump required ( Yes / No ) - Depends on location of new boiler. Condensate current termination currently acceptable ( Yes / No ) - na If no what needs to be amended to bring it up to regs ? Na Is the condensate currently through the wall in 19 or 32mm ? Na Number of radiators at the property - 8 Current radiator valve size and type i.e 15mm valve incorporating stem elbow to 10mm pipework - 15mm valve 10mm microbore pipe work Size of pipework at radiators - 10mm Number of bathrooms -1 Electric shower - Yes Any other means of heating - Gas fire Current Cooker Type – Electric Current Fire Type – Gas Full Heating Section ( Measure pipe and trunking accurately ) 22mm Pipe Required in meters - Depends on location of new boiler. 15mm Pipe Required in meters - Depends on location of new boiler. Talon Trunking 15mm double required - Depends on location of new boiler. Talon Trunking 22mm double required - Depends on location of new boiler. Talon Trunking external corners & Size - Depends on location of new boiler. Talon Trunking internal corners & Size - Depends on location of new boiler. Talon Trunking End Caps & Size - Depends on location of new boiler. Talon Trunking connectors & Size - Depends on location of new boiler.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-37773
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37773
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37773
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37773
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37773
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes