## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
3 Park Close
Langley Park
Durham
DH7 9TF
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-37774
DATE OF REPORT: 22/09/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-37774
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 3 Park Close
Langley Park
Durham
DH7 9TF
Carried Out On | 22/09/2023
Survey Completed By | Paul Sherwood
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-37774
SECTION 3: Report
Boiler image showing the whole installation inc pipework - Flue route within loft space or boxing - No Flue termination inc roof if vertical - Horizontal Condensate Termination - N/A Prv Termination - OK. Radiators within the property inc valves - 15mm Valves, 8mm pipework. Fuse Board - on wall near bottom of stairs. Gas Meter - External Stop Tap - Under sink and working Boiler & Alarms Section Upstairs Smoke Alarm Location & Date - Landing Feb-32 Downstairs Smoke Alarm Location & Date - Hallway Jan-32. Lounge Feb-32. Heat Alarm Location & Date - Kitchen Mar-32 Co Alarm Location & Date - Landing Nov-33. Boiler to be removed - Vaillant Turbomax vuw Boiler Serial number - 01003063060010354158 Job Type – boiler replacement - Combi Boiler location - Bathroom Cupboard Is 22mm gas pipe visible at boiler - Yes Flue type ( Vertical / Horizontal ) - Horizontal No of Flue Extensions - 0 No of Flue 45 - 0 No of Flue 90's - 1 Scaffolding required - No Flue guard needed - No Standoff kit required - No Gas meter internal / external – External Condensate Requirements Is a Condensate pump required ( Yes / No ) - N/A Condensate current termination currently acceptable ( Yes / No ) - N/A If no what needs to be amended to bring it up to regs ? Is the condensate currently through the wall in 19 or 32mm ? N/A Number of radiators at the property - 7 Current radiator valve size and type i.e 15mm valve incorporating stem elbow to 10mm pipework - 15mm Valves, 8mm microbore copper pipework Size of pipework at radiators - 8mm Number of bathrooms - 1 Electric shower - Yes Any other means of heating - Current Cooker Type – Electric Current Fire Type – Electric Full Heating Section ( Measure pipe and trunking accurately ) 22mm Pipe Required in meters - 1 15mm Pipe Required in meters - 1 Talon Trunking 15mm double required - 0 Talon Trunking 22mm double required - 0 Talon Trunking external corners & Size - 0 Talon Trunking internal corners & Size - 0 Talon Trunking End Caps & Size - 0 Talon Trunking connectors & Size -

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-37774
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37774
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37774
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37774
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37774
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes