## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
10 Vickerman Street
Halifax
HX1 3YD
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 23-37805
DATE OF REPORT: 28/09/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-37805
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 10 Vickerman Street
Halifax
HX1 3YD
Carried Out On | 28/09/2023
Survey Completed By | Paul Sherwood
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-37805
SECTION 3: Report
Images Required ( All images are Mandatory ) Boiler image showing the whole installation inc pipework - Taken Flue route within loft space or boxing - No Flue termination inc roof if vertical - Condensate Termination - External Prv Termination - Fine Radiators within the property inc valves - 15mm Valves, 8mm pipework. Fuse Board - Gas Meter - External Stop Tap - Under sink in kitchen and works fine. Boiler & Alarms Section Upstairs Smoke Alarm Location & Date - Landing Jun-27 Downstairs Smoke Alarm Location & Date - Hallway Aug-27 Heat Alarm Location & Date - Kitchen Jan-34 Co Alarm Location & Date - Kitchen Jul-28 Boiler to be removed - Worcester Greenstar 15i Boiler Serial number - 5570-101-00317-7716130168 Job Type – boiler replacement - system boiler - Boiler location - Kitchen Is 22mm gas pipe visible at boiler - Yes Flue type ( Vertical / Horizontal ) - Horizontal No of Flue Extensions - 0 No of Flue 45 - 0 No of Flue 90's - 1 x Flue elbow at top of boiler Scaffolding required - No Flue guard needed - No Standoff kit required - No Gas meter internal / external – External Condensate Requirements Is a Condensate pump required ( Yes / No ) - No Condensate current termination currently acceptable ( Yes / No ) - No If no what needs to be amended to bring it up to regs ? Needs lagging and is Currently gaffer taped up. See images. Is the condensate currently through the wall in 19 or 32mm ? 40mm Number of radiators at the property - 11 Current radiator valve size and type i.e 15mm valve incorporating stem elbow to 10mm pipework - Size of pipework at radiators - 8mm Plastic Microbore Number of bathrooms - 2 Electric shower - No Any other means of heating - Current Cooker Type – Gas Current Fire Type – None 07403360243

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-37805
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37805
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37805
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37805
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37805
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes