## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
37 Shalimar Street
Halifax
HX1 4JN
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 23-37871
DATE OF REPORT: 28/09/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-37871
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 37 Shalimar Street
Halifax
HX1 4JN
Carried Out On | 28/09/2023
Survey Completed By | Paul Sherwood
SECTION 2: Introduction
Planned survey for full heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-37871
SECTION 3: Report
mages Required ( All images are Mandatory ) Boiler image showing the whole installation inc pipework - Taken Flue route within loft space or boxing - No Flue termination inc roof if vertical - Horizontal Condensate Termination - Into outside stack Prv Termination - N/A Radiators within the property inc valves - 15mm Valves Fuse Board - Right hand wall near front door. Gas Meter - External outside the front. Stop Tap - In downstairs toilet near front door. Tested and shuts off. Boiler & Alarms Section Upstairs Smoke Alarm Location & Date - Top of Stairs Dec-26 Downstairs Smoke Alarm Location & Date - Bottom of Stairs Dec-26 Heat Alarm Location & Date - None. Co Alarm Location & Date - Kitchen Sep-26 (Faulty) Boiler to be removed - Potterton Promax 15/2 HE Plus Boiler Serial number - ATR084760112DC Job Type – Full heating - heat only boiler Boiler location - Kitchen Is 22mm gas pipe visible at boiler - No, 15mm (22mm from meter into property but only 15mm seen at and around the boiler). Flue type ( Vertical / Horizontal ) - Horizontal No of Flue Extensions - 0 No of Flue 45 - 0 No of Flue 90's - 1 x from top of boiler. Horizontal flue. Scaffolding required - No Flue guard needed - No Standoff kit required - No Gas meter internal / external – External Front of building. Condensate Requirements Is a Condensate pump required ( Yes / No ) - No Condensate current termination currently acceptable ( Yes / No ) - No If no what needs to be amended to bring it up to regs ? Needs lagging, more supportive clips, needs to terminate below the drain. Is the condensate currently through the wall in 19 or 32mm ? 32mm. Number of radiators at the property - 9 Current radiator valve size and type i.e 15mm valve incorporating stem elbow to 10mm pipework - 15mm valve 15mm pipework. Size of pipework at radiators - 15mm copper Number of bathrooms - 1 Bathroom, 1 Downstairs Toilet Electric shower - No Any other means of heating - Current Cooker Type – Gas Current Fire Type – None Full Heating Section ( Measure pipe and trunking accurately ) 22mm Pipe Required in meters - 40 15mm Pipe Required in meters - 25 Talon Trunking 15mm double required - 0 Talon Trunking 22mm double required - 0 Talon Trunking external corners & Size - 0 Talon Trunking internal corners & Size - 0 Talon Trunking End Caps & Size - 0 Talon Trunking connectors & Size - 0 Radiator 1 - Location ( Kitchen, Living Room ) - Kitchen (1) Room size ( Width & Length ) - W4000 x L5400mm Ceiling height - 2400mm Current Rad size - W650 x H690 Current Rad type ( Single, Double, DPX ) Single Max Rad size if radiator is to be increased - W1200 x H1200 Radiator 2 - Location ( Kitchen, Living Room ) - Kitchen (2) Room size ( Width & Length ) - W4000 x L5400mm Ceiling height - 2400mm Current Rad size - W750 x H680 Current Rad type ( Single, Double, DPX ) Single Max Rad size if radiator is to be increased - W1000 x H1000mm Radiator 3 - Location ( Kitchen, Living Room ) - Downstairs toilet Room size ( Width & Length ) - W800 x L1900 mm Ceiling height - 2400mm Current Rad size - W540 x H530mm Current Rad type ( Single, Double, DPX ) Single Max Rad size if radiator is to be increased - W540 x H800mm Radiator 4 - Location ( Kitchen, Living Room ) - Downstairs hallway Room size ( Width & Length ) - W2000 x L3500mm Ceiling height - 2400mm Current Rad size - W900 x H600mm Current Rad type ( Single, Double, DPX ) Double DPX Max Rad size if radiator is to be increased - W1400 x H900mm Radiator 5 - Location ( Kitchen, Living Room ) - Lounge Room size ( Width & Length ) - W3100 x L4200mm Ceiling height - 2400mm Current Rad size - W1050 x H530mm Current Rad type ( Single, Double, DPX ) DPX Max Rad size if radiator is to be increased - W1960 x H600mm Radiator 6 - Location ( Kitchen, Living Room ) - Bathroom Room size ( Width & Length ) - W1950 x L2300 mm Ceiling height - 2400mm Current Rad size - W440 x H530mm Current Rad type ( Single, Double, DPX ) Single Max Rad size if radiator is to be increased - W800 x H800mm Radiator 7 - Location ( Kitchen, Living Room ) - Bedroom 1 (Back) Room size ( Width & Length ) - W3300 x L3650 mm Ceiling height - 2400mm Current Rad size - W900 x H600 mm Current Rad type ( Single, Double, DPX ) DPX Max Rad size if radiator is to be increased - W1900 x H650 mm Radiator 8 - Location ( Kitchen, Living Room ) - Bedroom 2 (Front Small) Room size ( Width & Length ) - W1900 x L2200 mm Ceiling height - 2400mm Current Rad size - W530 x H530 mm Current Rad type ( Single, Double, DPX ) Single Max Rad size if radiator is to be increased - W1300 x H650 mm Radiator 9 - Location ( Kitchen, Living Room ) - Bedroom 3 (Front Large) Room size ( Width & Length ) - Ceiling height - 2400 mm Current Rad size - W900 x H600 mm Current Rad type ( Single, Double, DPX ) DPX Max Rad size if radiator is to be increased - W1300 x H700 mm

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-37871
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37871
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37871
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37871
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37871
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes