## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
5 Cherry Drive
Holme-on-Spalding-Moor
York
YO43 4HT
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 23-37878
DATE OF REPORT: 28/09/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-37878
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 5 Cherry Drive
Holme-on-Spalding-Moor
York
YO43 4HT
Carried Out On | 28/09/2023
Survey Completed By | Paul Sherwood
SECTION 2: Introduction
Planned survey for rads and distro

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-37878
SECTION 3: Report
Full Heating Section ( Measure pipe and trunking accurately ) 22mm Pipe Required in meters - 34 15mm Pipe Required in meters - 55 Talon Trunking 15mm double required - KITCHEN W40 x D30 x L5000mm Lounge W60 x D35 x L2370 mm Hallway W140 x D40 x L2350 mm Talon Trunking 22mm double required - 0 Talon Trunking external corners & Size - 0 Talon Trunking internal corners & Size - 0 Talon Trunking End Caps & Size - 0 Talon Trunking connectors & Size - 0 Radiator 1 - Location ( Kitchen, Living Room ) - Kitchen Room size ( Width & Length ) - W2950 x L4950 mm Ceiling height -2370 mm Current Rad size - W1270 x H750 mm Current Rad type ( Single, Double, DPX ) Single Max Rad size if radiator is to be increased - W1500 x H900 Radiator 2 - Location ( Kitchen, Living Room ) - Lounge Room size ( Width & Length ) - L4600 x W3500 mm Ceiling height - 2370 mm Current Rad size - W1200 x H450 mm Current Rad type ( Single, Double, DPX ) Double Max Rad size if radiator is to be increased - W1300 x H450 mm Radiator 3 - Location ( Kitchen, Living Room ) - Hallway Room size ( Width & Length ) - W1200 x L3000 mm Ceiling height - 2350 mm Current Rad size - W800 x H600 Current Rad type ( Single, Double, DPX ) Single Max Rad size if radiator is to be increased - Radiator 4 - Location ( Kitchen, Living Room ) - Bathroom Room size ( Width & Length ) - W1700 x L1800 mm Ceiling height - 2370 mm Current Rad size - W500 x H500 Current Rad type ( Single, Double, DPX ) Single Max Rad size if radiator is to be increased - W500 x H500 Radiator 5 - Location ( Kitchen, Living Room ) - Back Bedroom Room size ( Width & Length ) - W2900 x L3000 mm Ceiling height - 2370 mm Current Rad size - W1290 x H600 Current Rad type ( Single, Double, DPX ) Single Max Rad size if radiator is to be increased - W1400 x H850 mm Radiator 6 - Location ( Kitchen, Living Room ) - Front Bedroom Large Room size ( Width & Length ) - W2800 x L3300 mm Ceiling height - 2370 mm Current Rad size - W1130 x H600 mm Current Rad type ( Single, Double, DPX ) Single Max Rad size if radiator is to be increased - W1400 x H900 mm Radiator 7 - Location ( Kitchen, Living Room ) - Front Bedroom Small Room size ( Width & Length ) - W1850 x L2250 mm Ceiling height - 2370mm Current Rad size - W950 x H600 mm Current Rad type ( Single, Double, DPX ) Single Max Rad size if radiator is to be increased - W1100 x H 900 mm Boiler Potterton Promax Combi 28 HE Plus 07792014446

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-37878
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37878
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37878
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37878
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37878
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes