## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
11 Shalimar Street
Halifax
HX1 4JN
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 23-37889
DATE OF REPORT: 02/10/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-37889
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 11 Shalimar Street
Halifax
HX1 4JN
Carried Out On | 02/10/2023
Survey Completed By | Paul Sherwood
SECTION 2: Introduction
Planned survey for rads and distro

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-37889
SECTION 3: Report
22mm Pipe Required in meters - 64 15mm Pipe Required in meters - 8 Talon Trunking 15mm double required - 0 Talon Trunking 22mm double required - 0 Talon Trunking external corners & Size - 0 Talon Trunking internal corners & Size - 0 Talon Trunking End Caps & Size - 0 Talon Trunking connectors & Size - 0 Radiator 1 - Location ( Kitchen, Living Room ) - Hallway Room size ( Width & Length ) - W1200 x L4000mm Ceiling height - 2400mm Current Rad size - W740 x H530mm Current Rad type ( Single, Double, DPX ) Single Max Rad size if radiator is to be increased - W110 x H800mm Radiator 2 - Location ( Kitchen, Living Room ) - Kitchen 1 Room size ( Width & Length ) - W3700 x H5400 mm Ceiling height - 2400mm Current Rad size - W749 x H690 mm Current Rad type ( Single, Double, DPX ) Single Max Rad size if radiator is to be increased - W1300 x H900 Radiator 3 - Location ( Kitchen, Living Room ) - Kitchen 2 Room size ( Width & Length ) - W3700 x H5400 mm Ceiling height - 2400mm Current Rad size - W640 x H690 Current Rad type ( Single, Double, DPX ) Single Max Rad size if radiator is to be increased - W1200 x H900 Radiator 4 - Location ( Kitchen, Living Room ) - Lounge Room size ( Width & Length ) - W3250 x L4500mm Ceiling height - 2400mm Current Rad size - W1050 x H530 mm Current Rad type ( Single, Double, DPX ) Single Max Rad size if radiator is to be increased - W1800 x H600 Radiator 5 - Location ( Kitchen, Living Room ) - Downstairs Toilet Room size ( Width & Length ) - W850 x L1750 mm Ceiling height - 2400mm Current Rad size - W500 x H600 Current Rad type ( Single, Double, DPX ) Single Max Rad size if radiator is to be increased - W500 x H600 Radiator 6 - Location ( Kitchen, Living Room ) - Bathroom Room size ( Width & Length ) - W1950 x L2300 mm Ceiling height - 2380mm Current Rad size - W390 x H600mm Current Rad type ( Single, Double, DPX ) Single Max Rad size if radiator is to be increased - W800 x H900mm Radiator 7 - Location ( Kitchen, Living Room ) - Back Bedroom Room size ( Width & Length ) - W3300 x L3600 mm Ceiling height - 2380mm Current Rad size - W740 x H530mm Current Rad type ( Single, Double, DPX ) Single Max Rad size if radiator is to be increased - W1800 x H650 mm Radiator 8 - Location ( Kitchen, Living Room ) - Front Bedroom 1 Room size ( Width & Length ) - W3350 x L4600 mm Ceiling height - 2380mm Current Rad size - W740 x H530 mm Current Rad type ( Single, Double, DPX ) Single Max Rad size if radiator is to be increased - W1800 x H650 mm Radiator 9 - Location ( Kitchen, Living Room ) - Front Bedroom 2 Room size ( Width & Length ) - W2200 x L2300 mm Ceiling height - 2380mm Current Rad size - W490 x H600 mm Current Rad type ( Single, Double, DPX ) Single Max Rad size if radiator is to be increased - W1350 x H600

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-37889
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37889
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37889
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37889
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37889
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes