## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
5 Millersfield Close
Acomb
Hexham
NE46 4SB
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-37930
DATE OF REPORT: 28/09/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-37930
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 5 Millersfield Close
Acomb
Hexham
NE46 4SB
Carried Out On | 28/09/2023
Survey Completed By | John Bolton
SECTION 2: Introduction
Boiler leaking water, flooring and kitchen work top ruined as soaked, boiler currently been turned off by tenant

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-37930
SECTION 3: Report
Postcode on job isn’t correct it’s 10 mins away from the job. Boiler condensate wasn’t connected. It would have been when the boiler was fitted but when the under tray cover was fitted at the end of the job it’s pushed the hose back and out of the connection. Re fitted and cut out a slot on the tray for the condensate pipe. Tennant also said that two radiators were not heating up since the boiler was fitted one in the living room and one in the kitchen tried isolating radiators to push the heat round no luck. Drained down system and tried to push the water thorough the pipes but unable to unblock needs re booking to unblock.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-37930
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37930
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37930
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37930
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37930
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes