## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
41 Chiltern Avenue
Chester-Le-Street
DH2 3BE
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-37937
DATE OF REPORT: 29/09/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-37937
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 41 Chiltern Avenue
Chester-Le-Street
DH2 3BE
Carried Out On | 29/09/2023
Survey Completed By | Paul Sherwood
SECTION 2: Introduction
Planned survey for boiler install

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-37937
SECTION 3: Report
Boiler image showing the whole installation inc pipework - Flue route within loft space or boxing - No Flue termination inc roof if vertical - Horizontal Condensate Termination - Fine just needs lagging. Prv Termination - Not to regs, terminates above back door. Needs to go into downpipe. Radiators within the property inc valves - 8 Rads, 15mm Valves on 10mm pipework. Fuse Board - Kitchen Cupboard Gas Meter - Internal Under Stairs (Outside Gas pipe not secured. Transporter to be informed). Stop Tap - Under Kitchen Sink and Tested. Boiler & Alarms Section Upstairs Smoke Alarm Location & Date - Landing Oct-31 Downstairs Smoke Alarm Location & Date - Hallway Oct-31 Heat Alarm Location & Date - None Co Alarm Location & Date - Nathroom Cupboard Mar-33 Boiler to be removed - Baxi Duo-Tec 28 HE A Boiler Serial number - CAC104730831JC Job Type – boiler replacement - Combi Boiler location - Bathroom Cupboard Is 22mm gas pipe visible at boiler - Yes Flue type ( Vertical / Horizontal ) - Horizontal No of Flue Extensions - 0 No of Flue 45 - 0 No of Flue 90's - 0 Scaffolding required - No (Double Ladder yes) Flue guard needed - No Standoff kit required - No Gas meter internal / external –Internal under stairs. Condensate Requirements Is a Condensate pump required ( Yes / No ) - No Condensate current termination currently acceptable ( Yes / No ) - No If no what needs to be amended to bring it up to regs ? Lagging required. Is the condensate currently through the wall in 19 or 32mm ? 40mm Number of radiators at the property - 8 Current radiator valve size and type i.e 15mm valve incorporating stem elbow to 10mm pipework - 15mm Valve, 10mm microbore copper pipework. Size of pipework at radiators - 10mm microbore copper Number of bathrooms - 1 Electric shower - Yes Any other means of heating - Current Cooker Type – Gas Current Fire Type – Electric

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-37937
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37937
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37937
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37937
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37937
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes