## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
8 Vicarage Court
Studley Road
Hartlepool
TS25 1TN
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-37952
DATE OF REPORT: 28/09/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-37952
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 8 Vicarage Court
Studley Road
Hartlepool
TS25 1TN
Carried Out On | 28/09/2023
Survey Completed By | Paul Sherwood
SECTION 2: Introduction
Normal TRV required - please put up from merchants and fit

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-37952
SECTION 3: Report
Radiator already had 2 x next valves (both TRVs but only one had the head on). After using temperature clamos it became apparent that the valve with the TRV head on was not shutting down. The valve also never shut down manually with pun depressed. Switched the TRV head onto the bottom valve and monitored with temp clamps. Working when left. 👍 No parts fitted or used.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-37952
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37952
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37952
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37952
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37952
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes