## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
9 Ellison Place
Gateshead
NE9 6BE
CARRIED OUT ON BEHALF OF
Homegroup N1/N2
REPORT NUMBER: 23-37957
DATE OF REPORT: 29/09/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-37957
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Homegroup N1/N2
Address | One Strawberry Lane
Newcastle Upon Tyne
NE1 4BX
Site Address | 9 Ellison Place
Gateshead
NE9 6BE
Carried Out On | 29/09/2023
Survey Completed By | Paul Sherwood
SECTION 2: Introduction
Planned survey for boiler and rad valve replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-37957
SECTION 3: Report
Images Required ( All images are Mandatory ) Boiler image showing the whole installation inc pipework - Taken Flue route within loft space or boxing - No Flue termination inc roof if vertical - Horizontal. Plume kit needed. Condensate Termination - Into sink waste Prv Termination - Fine. Radiators within the property inc valves - Fuse Board - Near front door. Gas Meter - External front Stop Tap - Under the sink. Tested and shuts off. Boiler & Alarms Section Upstairs Smoke Alarm Location & Date - N/A ground floor flat Downstairs Smoke Alarm Location & Date - Hallway Jun-31 Heat Alarm Location & Date - None Co Alarm Location & Date - Kitchen Oct-26 Boiler to be removed - Potterton Promac combi 28 HE A Boiler Serial number - AWA095010778HC Job Type – boiler replacement - Combi Boiler location - kitchen Is 22mm gas pipe visible at boiler - Yes Flue type ( Vertical / Horizontal ) - Horizontal No of Flue Extensions - 0 No of Flue 45 - 0 No of Flue 90's - 0 Scaffolding required - No Flue guard needed - No. Plume kit needed. Standoff kit required - No Gas meter internal / external – External Condensate Requirements Is a Condensate pump required ( Yes / No ) - No Condensate current termination currently acceptable ( Yes / No ) - Yes If no what needs to be amended to bring it up to regs ? Is the condensate currently through the wall in 19 or 32mm ? Terminates into sink waste behind washing machine. Number of radiators at the property - 6 Current radiator valve size and type i.e 15mm valve incorporating stem elbow to 10mm pipework - 15mm Valves, 15mm pipework. Size of pipework at radiators - 15mm Number of bathrooms - 1 Electric shower - No Any other means of heating - Current Cooker Type – Gas Current Fire Type – Electric Full Heating Section ( Measure pipe and trunking accurately ) 22mm Pipe Required in meters - 1 15mm Pipe Required in meters - 1 Talon Trunking 15mm double required - 0 Talon Trunking 22mm double required - 0 Talon Trunking external corners & Size - 0 Talon Trunking internal corners & Size - 0 Talon Trunking End Caps & Size - 0 Talon Trunking connectors & Size - 0

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-37957
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37957
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37957
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37957
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37957
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes