## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
18 Anville Crescent
Walker
Newcaste Upon Tyne
NE6 3XG
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-37961
DATE OF REPORT: 02/10/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-37961
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 18 Anville Crescent
Walker
Newcaste Upon Tyne
NE6 3XG
Carried Out On | 02/10/2023
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-37961
SECTION 3: Report
Boiler image showing the whole installation inc pipework - Flue route within loft space or boxing - Flue termination inc roof if vertical - Condensate Termination -internal Prv Termination - Radiators within the property inc valves - Fuse Board - Gas Meter - Stop Tap - Boiler & Alarms Section Upstairs Smoke Alarm Location & Date -none Downstairs Smoke Alarm Location & Date -SAhall1033/ SAlounge1033/ Heat Alarm Location & Date -kit0633 Co Alarm Location & Date -hall1133 Boiler to be removed -baxi platinum Boiler Serial number -BNC100330089HC Job Type – Conversion / boiler replacement / full heating - boiler replacement Combi / heat only / system boiler -combi Boiler location -hall cupboard Is 22mm gas pipe visible at boiler -yes Flue type ( Vertical / Horizontal ) - Vertical No of Flue Extensions - 2 No of Flue 45 -2 No of Flue 90's -0 Scaffolding required -no Flue guard needed -no Standoff kit required -no Gas meter internal / external –external Condensate Requirements Is a Condensate pump required ( Yes / No ) - No Condensate current termination currently acceptable ( Yes / No ) - Yes If no what needs to be amended to bring it up to regs ? Is the condensate currently through the wall in 19 or 32mm ? Internal Number of radiators at the property -4 Current radiator valve size and type i.e 15mm valve incorporating stem elbow to 10mm pipework - 15mm Size of pipework at radiators -15mm Number of bathrooms -1 Electric shower -yes Any other means of heating -none Current Cooker Type – Electric / Gas multi fuel Current Fire Type – Electric / Gas none Full Heating Section ( Measure pipe and trunking accurately ) 22mm Pipe Required in meters - 15mm Pipe Required in meters - Talon Trunking 15mm double required - Talon Trunking 22mm double required - Talon Trunking external corners & Size - Talon Trunking internal corners & Size - Talon Trunking End Caps & Size - Talon Trunking connectors & Size - Radiator 1 - Location ( Kitchen, Living Room ) - Room size ( Width & Length ) - Ceiling height - Current Rad size - Current Rad type ( Single, Double, DPX ) Max Rad size if radiator is to be increased - Radiator 2 - Location ( Kitchen, Living Room ) - Room size ( Width & Length ) - Ceiling height - Current Rad size - Current Rad type ( Single, Double, DPX ) Max Rad size if radiator is to be increased - Radiator 3 - Location ( Kitchen, Living Room ) - Room size ( Width & Length ) - Ceiling height - Current Rad size - Current Rad type ( Single, Double, DPX ) Max Rad size if radiator is to be increased - Radiator 4 - Location ( Kitchen, Living Room ) - Room size ( Width & Length ) - Ceiling height - Current Rad size - Current Rad type ( Single, Double, DPX ) Max Rad size if radiator is to be increased - Radiator 1 - Location ( Kitchen, Living Room ) - Room size ( Width & Length ) - Ceiling height - Current Rad size - Current Rad type ( Single, Double, DPX ) Max Rad size if radiator is to be increased - Radiator 5 - Location ( Kitchen, Living Room ) - Room size ( Width & Length ) - Ceiling height - Current Rad size - Current Rad type ( Single, Double, DPX ) Max Rad size if radiator is to be increased - Radiator 6 - Location ( Kitchen, Living Room ) - Room size ( Width & Length ) - Ceiling height - Current Rad size - Current Rad type ( Single, Double, DPX ) Max Rad size if radiator is to be increased - Radiator 7 - Location ( Kitchen, Living Room ) - Room size ( Width & Length ) - Ceiling height - Current Rad size - Current Rad type ( Single, Double, DPX ) Max Rad size if radiator is to be increased - Radiator 8 - Location ( Kitchen, Living Room ) - Room size ( Width & Length ) - Ceiling height - Current Rad size - Current Rad type ( Single, Double, DPX ) Max Rad size if radiator is to be increased - Radiator 9 - Location ( Kitchen, Living Room ) - Room size ( Width & Length ) - Ceiling height - Current Rad size - Current Rad type ( Single, Double, DPX ) Max Rad size if radiator is to be increased - Radiator 10 - Location ( Kitchen, Living Room ) - Room size ( Width & Length ) - Ceiling height - Current Rad size - Current Rad type ( Single, Double, DPX ) Max Rad size if radiator is to be increased - Radiator 11 - Location ( Kitchen, Living Room ) - Room size ( Width & Length ) - Ceiling height - Current Rad size - Current Rad type ( Single, Double, DPX ) Max Rad size if radiator is to be increased - Radiator 12 - Location ( Kitchen, Living Room ) - Room size ( Width & Length ) - Ceiling height - Current Rad size - Current Rad type ( Single, Double, DPX ) Max Rad size if radiator is to be increased -

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-37961
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37961
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37961
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37961
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37961
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes