## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
10 Chester Road Estate
Stanley
County Durham
DH9 0QD
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-37962
DATE OF REPORT: 02/10/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-37962
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 10 Chester Road Estate
Stanley
County Durham
DH9 0QD
Carried Out On | 02/10/2023
Survey Completed By | John Bolton
SECTION 2: Introduction
Planned survey for boiler install

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-37962
SECTION 3: Report
Boiler image showing the whole installation inc pipework - Flue route within loft space or boxing - Flue termination inc roof if vertical - Condensate Termination - Prv Termination - Radiators within the property inc valves - Fuse Board - Gas Meter - Stop Tap - Boiler & Alarms Section Upstairs Smoke Alarm Location & Date - Downstairs Smoke Alarm Location & Date - Living room and hall may 2032 Heat Alarm Location & Date - kitchen apr 2032 Co Alarm Location & Date - living room jan 2030 Boiler to be removed - back boiler Boiler Serial number - unable to find Job Type – Conversion / boiler replacement / full heating - conversion Combi / heat only / system boiler - back boiler Boiler location - living room Is 22mm gas pipe visible at boiler - unable to see Flue type ( Vertical / Horizontal ) - vertical No of Flue Extensions - 0 No of Flue 45 -0 No of Flue 90's -0 Scaffolding required -no Flue guard needed -no Standoff kit required -yes Gas meter internal / external –internal Condensate Requirements new condensate run can be internal to sink Is a Condensate pump required ( Yes / No ) - no Condensate current termination currently acceptable ( Yes / No ) - not fitted If no what needs to be amended to bring it up to regs ? Is the condensate currently through the wall in 19 or 32mm ? Na Number of radiators at the property - 6 Current radiator valve size and type i.e 15mm valve incorporating stem elbow to 10mm pipework - 15mm valves with 10mm bullets Size of pipework at radiators - 10mm Number of bathrooms -1 Electric shower -1 Any other means of heating - no Current Cooker Type – Electric / Gas electric Current Fire Type – Electric / Gas gas Full Heating Section ( Measure pipe and trunking accurately ) 22mm Pipe Required in meters - 15mm Pipe Required in meters - Talon Trunking 15mm double required - Talon Trunking 22mm double required - Talon Trunking external corners & Size - Talon Trunking internal corners & Size - Talon Trunking End Caps & Size - Talon Trunking connectors & Size - Radiator 1 - Location ( Kitchen, Living Room ) - Room size ( Width & Length ) - Ceiling height - Current Rad size - Current Rad type ( Single, Double, DPX ) Max Rad size if radiator is to be increased - Radiator 2 - Location ( Kitchen, Living Room ) - Room size ( Width & Length ) - Ceiling height - Current Rad size - Current Rad type ( Single, Double, DPX ) Max Rad size if radiator is to be increased - Radiator 3 - Location ( Kitchen, Living Room ) - Room size ( Width & Length ) - Ceiling height - Current Rad size - Current Rad type ( Single, Double, DPX ) Max Rad size if radiator is to be increased - Radiator 4 - Location ( Kitchen, Living Room ) - Room size ( Width & Length ) - Ceiling height - Current Rad size - Current Rad type ( Single, Double, DPX ) Max Rad size if radiator is to be increased - Radiator 1 - Location ( Kitchen, Living Room ) - Room size ( Width & Length ) - Ceiling height - Current Rad size - Current Rad type ( Single, Double, DPX ) Max Rad size if radiator is to be increased - Radiator 5 - Location ( Kitchen, Living Room ) - Room size ( Width & Length ) - Ceiling height - Current Rad size - Current Rad type ( Single, Double, DPX ) Max Rad size if radiator is to be increased - Radiator 6 - Location ( Kitchen, Living Room ) - Room size ( Width & Length ) - Ceiling height - Current Rad size - Current Rad type ( Single, Double, DPX ) Max Rad size if radiator is to be increased - Radiator 7 - Location ( Kitchen, Living Room ) - Room size ( Width & Length ) - Ceiling height - Current Rad size - Current Rad type ( Single, Double, DPX ) Max Rad size if radiator is to be increased - Radiator 8 - Location ( Kitchen, Living Room ) - Room size ( Width & Length ) - Ceiling height - Current Rad size - Current Rad type ( Single, Double, DPX ) Max Rad size if radiator is to be increased - Radiator 9 - Location ( Kitchen, Living Room ) - Room size ( Width & Length ) - Ceiling height - Current Rad size - Current Rad type ( Single, Double, DPX ) Max Rad size if radiator is to be increased - Radiator 10 - Location ( Kitchen, Living Room ) - Room size ( Width & Length ) - Ceiling height - Current Rad size - Current Rad type ( Single, Double, DPX ) Max Rad size if radiator is to be increased - Radiator 11 - Location ( Kitchen, Living Room ) - Room size ( Width & Length ) - Ceiling height - Current Rad size - Current Rad type ( Single, Double, DPX ) Max Rad size if radiator is to be increased - Radiator 12 - Location ( Kitchen, Living Room ) - Room size ( Width & Length ) - Ceiling height - Current Rad size - Current Rad type ( Single, Double, DPX ) Max Rad size if radiator is to be increased -

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-37962
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37962
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37962
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37962
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37962
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes