## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Cheviot View
West Street
West Allotment
NE27 0RA
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 23-37972
DATE OF REPORT: 07/11/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-37972
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Cheviot View
West Street
West Allotment
NE27 0RA
Carried Out On | 02/10/2023, 20/10/2023
Survey Completed By | Craig Towart
SECTION 2: Introduction
6 Monthly Mechanical Check

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-37972
SECTION 3: Report
Ct 20/10 3x Hamworthy F125v 1= operational 2= operational 3= operational 2x Hamworthy powerstock calorifiers 1= operational 2= operational 1x Flamco pressuration unit operational 1x c/h expansion vessel operational set at 1.7bar 2x DHW expansion 1= operational set at 3 bar 2= operational set at 31st Valve’s operational Gauges operational 5x prv operational 1x interlock operational Lagging good Water test awaiting results Zone1 vt groundfos magna 3d 40 200 1=0.7 amps 2= 0.6amps 2x 3 port valves 1=operational 2= operational 3x Schneider actuators 1= operational 2= operational 3=operational Sensors operational Flue 3 signs of leaks 2x de Strat pumps brial ag1= .25amps operational 2= .20amps operational Leaks on calorifiers no 2 cold inlet 1” socket T and on 1” female ion Leaks on calorifiers no 1 1” to 3/4 male male cold feed FoW awaiting test results

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-37972
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37972
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37972
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37972
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37972
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes