## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
The Orchard
South Preston Grove
North Sheilds
NE29 0HB
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 23-37973
DATE OF REPORT: 30/01/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-37973
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | The Orchard
South Preston Grove
North Sheilds
NE29 0HB
Carried Out On | 09/10/2023,17/10/2023
Survey Completed By | Graham Parker
SECTION 2: Introduction
6 Monthly Mechanical Check

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-37973
SECTION 3: Report
3 x hamworthy Fleet F100v 1= operational 2= operational but leaking 3=Isolated due to water damage from above boiler. 2x hamworthy powerstock calorifiers 1 = operational 2= operational 2x DHW expansion vessel= operational set at 3.5 3 x 3port valve Schneider = operational 3 x actuators = operational 1x interlock = operational 5 x prv = operational Sensors = operational Gauges = operational Lagging good condition 1x hamworthy chessill pressuration unit = operational Valves= operational Flue = has evidence of old leaks 2xPrimary hot water pumps grundfoss magna 3d 32-120 1= Operational 0.5 2= Operational 0.5 amps Hot water secondary return grundfoss magna 1 25-80 = operational 0.2 amps 2x biral de strat pumps 1= operational 0.3 amps 2 = .operational 0.3 amps 2xVT pumps grundfoss magna 3d 40-100 1= Operational 0.6 amps 2= operational 0.6 amps C/H expansion vessel= operational set at 1.5 BMS = operational Laboratory water test carried out = awaiting report

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-37973
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37973
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37973
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37973
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37973
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes