## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Emmerson Court
Emmerson Place
Shiremoor
NE27 0NG
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 23-37974
DATE OF REPORT: 16/01/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-37974
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Emmerson Court
Emmerson Place
Shiremoor
NE27 0NG
Carried Out On | 17/10/2023
Survey Completed By | Graham Parker
SECTION 2: Introduction
Carry out 6 Monthly Mechanical Check

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-37974
SECTION 3: Report
3 x Hamworthy fleet f125v boilers 1= operational 2= operational 3= operational 2 x Hamworthy power stock calorifiers 1= operational 2= operational 1 x Hamworthy chessill pressurisation unit = operational Lagging = good Flue = good CH expansion vessel = operational charged to 2 bar 2 x DHWS expansion vessels 1= operational charged to 3.5 bar 2= operational charged to 3.5 bar 3 x mixing valves 1= operational 2= operational 3= operational Condensate pipe work leaking Pipe work = operational satisfactory Laboratory water test carried out @ 22 degrees BMS = operational PRV,s = operational 2 x biral de strat pumps 1= operational 0.3 amps 2= operational 0.3 amps 2 x grundfos magna 3 40-120 primary pumps 1= operational 0.8 amps 2= operational 0.8 amps 2 x grundfos magna 3 40-80 VT ZONE 1 pumps 1= operational 0.8 amps 2= operational 0.8 amps 2 x grundfos magna 3 40-100 VT ZONE 2 pumps 1= operational 0.5 amps 2= operational 0.5 amps 1 x grundfos UPS 25-80 secondary return pump = operational 0.5 amps Gauges = satisfactory Valves = operational

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-37974
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37974
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37974
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37974
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37974
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes