## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Rothley Grange
Solway Avenue
Cullercoats
NE30 3AU
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 23-37976
DATE OF REPORT: 29/01/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-37976
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Rothley Grange
Solway Avenue
Cullercoats
NE30 3AU
Carried Out On | 05/10/2023
Survey Completed By | Graham Parker
SECTION 2: Introduction
Carry out 6 Monthly Mechanical Check

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-37976
SECTION 3: Report
3 x Hamworthy fleet f50v boilers 1= operational 2= operational 3= operational 2 x lochinvar SHW45-325 water heaters 1= was in fault new pump required but got going 2= operational 3 x ASHP = non operational 1 x LTHW expansion vessel = operational charged to 1.7 bar 1 x ASHP expansion vessel = operational charged to 1.7 bar 2 x DHWS expansion vessel = operational charged to 3.5 bar All valves are operational Gauges = operational Flues = good Condensate pipe work has leaks in places 5 x PRV,s = operational 1 x gas interlock = operational Lagging = good condition BMS= HMI non operational Water test = see report Zone 1 VT pumps grundfos magna3d 40-100 = good 0.6 amps 2= good 0.6 amps Zone 2 VT pumps grundfos magna3d 32-80 1= good 0.7 amps 2= good 0.7 amps ASHP secondary pumps grundfos magna3d 40-180= good 1.3 amps 2= good 1.4 amps ASHP primary pumps grundfos TPED 32-250 1= good 2.0 amps 2= good 2.1 amps 2 x actuators = operational 2 x mixing valves = operational Sensors = operational

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-37976
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37976
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37976
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37976
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37976
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes