## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
37 St Johns Road
Hexham
Northumberland
NE46 2AT
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-37977
DATE OF REPORT: 29/09/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-37977
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 37 St Johns Road
Hexham
Northumberland
NE46 2AT
Carried Out On | 29/09/2023
Survey Completed By | John Bolton
SECTION 2: Introduction
Planned survey for full heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-37977
SECTION 3: Report
Boiler image showing the whole installation inc pipework - Flue route within loft space or boxing - Flue termination inc roof if vertical - Condensate Termination - Prv Termination - Radiators within the property inc valves - Fuse Board - Gas Meter - Stop Tap - Boiler & Alarms Section Upstairs Smoke Alarm Location & Date - na Downstairs Smoke Alarm Location & Date - June 2029 Heat Alarm Location & Date - not fitted Co Alarm Location & Date - March 2029 Boiler to be removed - Vaillant Eco Tec pro 28 Boiler Serial number - 210625308511 Job Type – Conversion / boiler replacement / full heating - full heating Combi / heat only / system boiler - combi Boiler location - kitchen Is 22mm gas pipe visible at boiler -yes Flue type ( Vertical / Horizontal ) - horizontal No of Flue Extensions - 0 No of Flue 45 -0 No of Flue 90's -0 Scaffolding required - no Flue guard needed -no Standoff kit required -no Gas meter internal / external –external Condensate Requirements Is a Condensate pump required ( Yes / No ) - no Condensate current termination currently acceptable ( Yes / No ) - no If no what needs to be amended to bring it up to regs ? Upgrade pipework externally to 32mm Is the condensate currently through the wall in 19 or 32mm ? 19mm Number of radiators at the property - 6 Current radiator valve size and type i.e 15mm valve incorporating stem elbow to 10mm pipework - 10mm pipework with 10mm valves Size of pipework at radiators -10mm Number of bathrooms - 1 bathroom Electric shower - no Any other means of heating - yes gas fire Current Cooker Type – Electric / Gas. electric Current Fire Type – Electric / Gas gas Full Heating Section ( Measure pipe and trunking accurately ) 22mm Pipe Required in meters - 3 metres 15mm Pipe Required in meters - 78m Talon Trunking 15mm double required - 78m Talon Trunking 22mm double required -0 Talon Trunking external corners & Size - 11x 15mm Talon Trunking internal corners & Size - 18x 15mm Talon Trunking End Caps & Size - 12 x 15mm Talon Trunking connectors & Size - 32 Radiator 1 - Location ( Kitchen, Living Room ) - kitchen Room size ( Width & Length ) - width 290cm length 315cm Ceiling height -248cm Current Rad size - 94cm wide by 60.5 length Current Rad type ( Single, Double, DPX ) double Max Rad size if radiator is to be increased -110cm Radiator 2 - Location ( Kitchen, Living Room ) - bathroom Room size ( Width & Length ) -width 175cm 287cm length Ceiling height -248cm Current Rad size -94cm width 89cm height Current Rad type ( Single, Double, DPX ) single Max Rad size if radiator is to be increased —120cm Radiator 3 - Location ( Kitchen, Living Room ) - bedroom Room size ( Width & Length ) - width 357cm length 391cm Ceiling height -248cm Current Rad size - 154 cm wide 53cm length Current Rad type ( Single, Double, DPX ) single Max Rad size if radiator is to be increased - 160cm by 55cm Radiator 4 - Location ( Kitchen, Living Room ) - bedroom Room size ( Width & Length ) - 393cm width 293 length Ceiling height -248 cm Current Rad size -69 cm width 52.5 cm height Current Rad type ( Single, Double, I DPX ) single Max Rad size if radiator is to be increased - 800cm by 52cm wide Radiator 1 - Location ( Kitchen, Living Room ) - Room size ( Width & Length ) - Ceiling height - Current Rad size - Current Rad type ( Single, Double, DPX ) Max Rad size if radiator is to be increased - Radiator 5 - Location ( Kitchen, Living Room ) - hall Room size ( Width & Length ) -width 108cm length 528cm Ceiling height - 248cm Current Rad size - 114cm width 69cm high Current Rad type ( Single, Double, DPX ) single Max Rad size if radiator is to be increased -1400 by 700cm Radiator 6 - Location ( Kitchen, Living Room ) - living room Room size ( Width & Length ) - 436cm width length 446cm Ceiling height -248cm Current Rad size - width 113cm length 53cm Current Rad type ( Single, Double, DPX ) double Max Rad size if radiator is to be increased -160cm by 53cm high Radiator 7 - Location ( Kitchen, Living Room ) - Room size ( Width & Length ) - Ceiling height - Current Rad size - Current Rad type ( Single, Double, DPX ) Max Rad size if radiator is to be increased - Radiator 8 - Location ( Kitchen, Living Room ) - Room size ( Width & Length ) - Ceiling height - Current Rad size - Current Rad type ( Single, Double, DPX ) Max Rad size if radiator is to be increased - Radiator 9 - Location ( Kitchen, Living Room ) - Room size ( Width & Length ) - Ceiling height - Current Rad size - Current Rad type ( Single, Double, DPX ) Max Rad size if radiator is to be increased - Radiator 10 - Location ( Kitchen, Living Room ) - Room size ( Width & Length ) - Ceiling height - Current Rad size - Current Rad type ( Single, Double, DPX ) Max Rad size if radiator is to be increased - Radiator 11 - Location ( Kitchen, Living Room ) - Room size ( Width & Length ) - Ceiling height - Current Rad size - Current Rad type ( Single, Double, DPX ) Max Rad size if radiator is to be increased - Radiator 12 - Location ( Kitchen, Living Room ) - Room size ( Width & Length ) - Ceiling height - Current Rad size - Current Rad type ( Single, Double, DPX ) Max Rad size if radiator is to be increased -

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-37977
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37977
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37977
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37977
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37977
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes