## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Feetham Court
Forest Hall
Newcastle Upon Tyne
NE12 9QJ
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 23-37978
DATE OF REPORT: 13/11/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-37978
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Feetham Court
Forest Hall
Newcastle Upon Tyne
NE12 9QJ
Carried Out On | 17/10/2023, 24/10/2023
Survey Completed By | Graham Parker
SECTION 2: Introduction
Carry out 6 Monthly Mechanical Check

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-37978
SECTION 3: Report
17/10/23 gp Started ppm 3 x Remeha Quinta 115 boilers 1= operational 2= operational 3= operational 2 x calorifiers 1= operational 2= operational 1 x boss pressurisation unit = operational Flue is leaking in various locations Valves = operational Condensate pipe leaking Lagging = average Laboratory water test taken @ 24 degrees 2 x DHWS expansion vessels 1= operational charged to 3.5 bar 2= operational charged to 3.5 bar 1 x LTHW expansion vessel = operational charged to 1.5 bar 1 x faulty temperature gauge 5 x 3 port valves = operational 5 x actuators = operational 2 x grundfos TPE 65-180 VT pumps 1= operational 1.4 amps 2= operational 1.4 amps 2 x grundfos TPE 50-100 primary pumps 1= operational 0.9 amps 2= operational 0.9 amps 1 x grundfos UPS 20-45 secondary return pump = operational 0.7 2 x grundfos comfort de strat pumps 1 = operational 0.3 amps 2= operational 0.3 amps 1 x interlock

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-37978
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37978
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37978
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37978
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37978
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes