## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Spring View
Bristol Drive
Battle Hill
NE28 9RN
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 23-37979
DATE OF REPORT: 27/10/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-37979
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Spring View
Bristol Drive
Battle Hill
NE28 9RN
Carried Out On | 09/10/2023, 20/10/2023
Survey Completed By | Craig Towart
SECTION 2: Introduction
Carry out 6 Monthly Mechanical Check

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-37979
SECTION 3: Report
Ct 9/10 Ppm carried out on site 3x hamworthy f50v boilers 1=operational 2= operational 3= fault reset from fault e133 and fired up 2x Lochinvor eco shield (331 litres) 1= operational 2= operational 5x prv =operational 1x interlock =operational 2x wilo pressuration units 1= operational 2= operational Valves = operational Gauges = operational 1x central heating expansion vessel set at 1.5 bar 1x ashp expansion vessel set at 1.5 bar 2x DHW expansion vessel set at 3.5 bar Lagging condition good 1x Schneider actuator= operational Sensors operational Water test =awaiting results Heating pumps amps 1= 0.18amps operational 2=0.23 amps operational Ashp primary pumps amps . 1=0.24amps operational 2= 0.30 amps operational Ashp secondary pumps amps 1= .10 amps operational 2=.12 amps operational Hw secondary return amps 1=0.5 amps operational FoW awaiting test results

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-37979
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37979
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37979
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37979
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37979
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes