## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
26 Redbarn Close
Leeds
LS10 4SZ
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 23-37988
DATE OF REPORT: 02/10/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-37988
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 26 Redbarn Close
Leeds
LS10 4SZ
Carried Out On | 02/10/2023
Survey Completed By | Paul Sherwood
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-37988
SECTION 3: Report
Boiler image showing the whole installation inc pipework - Flue route within loft space or boxing - No Flue termination inc roof if vertical - Horizontal Condensate Termination - N/A Prv Termination - N/A Radiators within the property inc valves - 15mm Valves 8mm microbore plastic pipework. Fuse Board - On wall near front door. Gas Meter - External Front Stop Tap - Under Kitchen Sink. Very stiff but does shut off. Boiler & Alarms Section Upstairs Smoke Alarm Location & Date - Landing Nov-29 Downstairs Smoke Alarm Location & Date - Lounge Date not visible. Heat Alarm Location & Date - None. Co Alarm Location & Date - Kitchen Aug-32 Boiler to be removed - Ideal Classic SE12 FF Boiler Serial number - UT20033Q05070058I Job Type – boiler replacement - heat only Boiler location - Kitchen Is 22mm gas pipe visible at boiler - No 15mm Flue type ( Vertical / Horizontal ) - Horizontal No of Flue Extensions - 0 No of Flue 45 - 0 No of Flue 90's - 1 (Elbow from top of boiler) Scaffolding required - No Flue guard needed - No Standoff kit required - No Gas meter internal / external – External front Condensate Requirements - Non condensing boiler currently installed. Is a Condensate pump required ( Yes / No ) - No Condensate current termination currently acceptable ( Yes / No ) - N/A If no what needs to be amended to bring it up to regs ? Is the condensate currently through the wall in 19 or 32mm ? N/A Number of radiators at the property - 6 Current radiator valve size and type i.e 15mm valve incorporating stem elbow to 10mm pipework - 15mm valve with 8mm microbore plastic pipework. Size of pipework at radiators - 8mm plastic Number of bathrooms - 1 plus downstairs toilet. Electric shower - No. Only bath. Any other means of heating - Current Cooker Type – Electric Current Fire Type – Electric

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-37988
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37988
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37988
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37988
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37988
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes