## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
17 Bayonne
Silver Cross Way
Guiseley
LS20 8FJ
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 23-37994
DATE OF REPORT: 02/10/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-37994
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | One Strawberry Lane
Newcastle Upon Tyne
NE1 4BX
Site Address | 17 Bayonne
Silver Cross Way
Guiseley
LS20 8FJ
Carried Out On | 02/10/2023
Survey Completed By | Paul Sherwood
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-37994
SECTION 3: Report
Boiler image showing the whole installation inc pipework - Flue route within loft space or boxing - In to the loft Flue termination inc roof if vertical - Vertical Condensate Termination - External Prv Termination - External wall, fine. Radiators within the property inc valves - 15mm Valves, 10mm pipework Fuse Board - In cupboard near main door. Gas Meter - External Stop Tap - Inside Hallway storage cupboard. Tested and shuts off. Boiler & Alarms Section Upstairs Smoke Alarm Location & Date - Single storey flat. Downstairs Smoke Alarm Location & Date - Hallway Jul-30 Heat Alarm Location & Date - Kitchen May-30 Co Alarm Location & Date - Kitchen Jan-31 Boiler to be removed - Ideal Isar HE35 Boiler Serial number - 203240000197150833 Job Type – boiler replacement - Combi Boiler location - Kitchen Is 22mm gas pipe visible at boiler - No, 15mm. Flue type ( Vertical / Horizontal ) - Vertical No of Flue Extensions - 3 No of Flue 45 - 0 No of Flue 90's - 2 Scaffolding required - No, but a roofer for 2nd Storey Flue terminal. Flue guard needed - No Standoff kit required - No Gas meter external – External Condensate Requirements Is a Condensate pump required ( Yes / No ) - No Condensate current termination currently acceptable ( Yes / No ) - No. If no what needs to be amended to bring it up to regs ? Pipework size needs upgrading and lagging if run External, however be best to run into adjacent sink waste. Is the condensate currently through the wall in 19 or 32mm ? 21.5mm Number of radiators at the property - 6 Current radiator valve size and type i.e 15mm valve incorporating stem elbow to 10mm pipework - 15mm Valves, 10mm microbore plastic pipework. Size of pipework at radiators - 6 Number of bathrooms - 1 Electric shower - No Any other means of heating - Current Cooker Type – Electric Current Fire Type – None

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-37994
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37994
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37994
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37994
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-37994
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes