## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Flat 4;81a Hlifax Road
Huddersfield
HD3 3BR
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 23-38004
DATE OF REPORT: 02/10/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-38004
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | Flat 4;81a Hlifax Road
Huddersfield
HD3 3BR
Carried Out On | 02/10/2023
Survey Completed By | Paul Sherwood
SECTION 2: Introduction
Planned survey for rads and distro

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-38004
SECTION 3: Report
22mm Pipe Required in meters - 40 15mm Pipe Required in meters - 16 Talon Trunking 15mm double required - 0 Talon Trunking 22mm double required - 0 Talon Trunking external corners & Size - 0 Talon Trunking internal corners & Size - 0 Talon Trunking End Caps & Size - 0 Talon Trunking connectors & Size - 0 Radiator 1 - Location ( Kitchen, Living Room ) - Lounge Room size ( Width & Length ) - W5000 x L5500mm Ceiling height - 2300mm Current Rad size - W1560 x H690 Current Rad type ( Single, Double, DPX ) DPX Max Rad size if radiator is to be increased - W1800 x H900 Radiator 2 - Location ( Kitchen, Living Room ) - Hallway Room size ( Width & Length ) - W1200 x L3600 mm Ceiling height - 2300mm Current Rad size - W440 x H530mm Current Rad type ( Single, Double, DPX ) DPX Max Rad size if radiator is to be increased - W700 x H700 mm Radiator 3 - Location ( Kitchen, Living Room ) - Bedroom 1 Room size ( Width & Length ) - W2250 x L3400 mm Ceiling height - 2300mm Current Rad size - W540 x H690 Current Rad type ( Single, Double, DPX ) DPX Max Rad size if radiator is to be increased - W1000 x H780 Radiator 4 - Location ( Kitchen, Living Room ) - Bathroom Room size ( Width & Length ) - W2140 x L2500 mm Ceiling height - 2300mm Current Rad size - W440 x H530 mm Current Rad type ( Single, Double, DPX ) DPX Max Rad size if radiator is to be increased - W900 x H900 Radiator 5 - Location ( Kitchen, Living Room ) - Bedroom 2 Room size ( Width & Length ) - W3700 x L3700 mm Ceiling height - 2300mm Current Rad size - W950 x H690 mm Current Rad type ( Single, Double, DPX ) DPX Max Rad size if radiator is to be increased - W1750 x H780 mm

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-38004
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38004
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38004
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38004
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38004
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes