## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
12 Redburn View
Bardon Mill
Hexham
NE47 7BR
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-38114
DATE OF REPORT: 10/10/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-38114
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 12 Redburn View
Bardon Mill
Hexham
NE47 7BR
Carried Out On | 05/10/2023, 10/10/2023
Survey Completed By | John Bolton
SECTION 2: Introduction
Tank not heating correctly, solar pannels

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-38114
SECTION 3: Report
Managed to get the immersion heating on by resetting the thermostat and altering the heat settings to 65 degrees water tested at 56 degrees at the downstairs sink and still operating after two hours. Solar thermal heating fault diagnosed to a faulty roof sensor new sensors have been ordered. Tennant is in every day next week apart from Wednesday so if we could call her to let her know what day we will be out please. We will need some cat ladders and triple extension ladders to access the solar panels on the roof to replace the sensor. Pictures sent across by email. Went back on 10 of October and replaced tank sensor and tested working ok drained tank and the solar pump kicked in to use its heat to heat up the tank tested working for 30 mins whilst on my dinner break water temperature at taps got to 40 degrees put everything back as it should be and turned back on Emerson heater as Baxi technician said they should work in tandem although he did mention there should be a relay in line if it didn’t have a boiler in place which this house hasn’t.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-38114
SECTION 4: Photos
Room / Area
Bathroom
Description
Temperature
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38114
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38114
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38114
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38114
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes