## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
172 Split Crow Road
Gateshead
NE8 3TY
CARRIED OUT ON BEHALF OF
Homegroup N1/N2
REPORT NUMBER: 23-38144
DATE OF REPORT: 05/10/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-38144
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Homegroup N1/N2
Address | One Strawberry Lane
Newcastle Upon Tyne
NE1 4BX
Site Address | 172 Split Crow Road
Gateshead
NE8 3TY
Carried Out On | 05/10/2023
Survey Completed By | Paul Sherwood
SECTION 2: Introduction
Gas pipe to be moved

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-38144
SECTION 3: Report
Extended gas cooker line and reattached bayonet. Couldn't pressure test as the Quantum meter anti tamper device activated. Scottish Power are sending out a meter engineer who will also pressure test the line. Scottish Power reference number: 2307637795.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-38144
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38144
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38144
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38144
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38144
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes