## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
8 aged miners homes
Blue house lane
Tyne and Wear
NE37 2TL
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 23-38201
DATE OF REPORT: 06/10/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-38201
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 8 aged miners homes
Blue house lane
Tyne and Wear
NE37 2TL
Carried Out On | 06/10/2023
Survey Completed By | John Bolton
SECTION 2: Introduction
Gas leak

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-38201
SECTION 3: Report
I got there as northern gas networks were leaving and they had turned off the ecv as the co alarm was beeping as the battery is running out replaced co alarm with a new alarm from van stock turned ecv on and sweep tested the boiler all ok carried out cheacks on the flue and gas all ok left boiler operational. Email of pictures sent to admin

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-38201
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38201
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38201
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38201
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38201
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes