## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Lynwood House ( Flats 5 & 6 )
Durham Road
Lanchester
DH7 0LS
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-38215
DATE OF REPORT: 24/11/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-38215
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Lynwood House ( Flats 5 & 6 )
Durham Road
Lanchester
DH7 0LS
Carried Out On | 09/10/2023, 11/10/2023
Survey Completed By | John Bolton
SECTION 2: Introduction
Please investigate noise complaint between Flats 5 and 6.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-38215
SECTION 3: Report
Water hammer causing noise. Hot kitchen tap in flat 23 is the issue. Cleaned out cartridge and turned flow rate down on tap. No noise created when I was onsite. May require a new cartridge if problem continues. PR Traced fault to debris stuck inside the check valve cleaned out the check valve and removed the secondary check valve with straight through pipework. Tested all ok. JB

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-38215
SECTION 4: Photos
Room / Area
Hall
Description
Pipework
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38215
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38215
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38215
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38215
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes