## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Lynwood House ( Communal Area )
Durham Road
Lanchester
DH7 0LS
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-38248
DATE OF REPORT: 10/10/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-38248
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Lynwood House ( Communal Area )
Durham Road
Lanchester
DH7 0LS
Carried Out On | 10/10/2023
Survey Completed By | John Bolton
SECTION 2: Introduction
Please attend site to investigate noise complaint after 5pm in the vicinity of flats 5,6,21,23 ( Void ). Mr Cook flat 6 contact number 07738273724 or 01207 521222 Mrs Turner Flat 5 contact number 07985588690 Mrs Ashcroft flat 21 contact number 07740996195 or 01207521526

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-38248
SECTION 3: Report
Found the noise coming from a check valve in flat 21 removed valve and found debris stopping the valve from closing re fitted and still had a little bit of noise so removed return hot water check valve with debris stuck in it cleaned and re fitted and noise is now gone. Could we maybe fit a strainer to 28 mm flow pipework ?

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-38248
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38248
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38248
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38248
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38248
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes