## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
10 Chester Road Estate
Stanley
DH9 0QD
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-38370
DATE OF REPORT: 12/10/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-38370
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 10 Chester Road Estate
Stanley
DH9 0QD
Carried Out On | 12/10/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-38370
SECTION 3: Report
Boiler image showing the whole installation inc pipework - Flue route within loft space or boxing - Flue termination inc roof if vertical - Condensate Termination - Prv Termination - Radiators within the property inc valves - Fuse Board - Gas Meter - Stop Tap - Boiler & Alarms Section Upstairs Smoke Alarm Location & Date - Downstairs Smoke Alarm Location & Date - Heat Alarm Location & Date - Co Alarm Location & Date - Boiler to be removed -back boiler Boiler Serial number - Job Type – Conversion / boiler replacement / full heating -conversion Combi / heat only / system boiler - back boiler Boiler location -living room new boiler to be in kitchen Is 22mm gas pipe visible at boiler -na gas meter in kitchen cupboard Flue type ( Vertical / Horizontal ) - vertical No of Flue Extensions - 1 No of Flue 45 -na No of Flue 90's -na Scaffolding required -no Flue guard needed -no Standoff kit required -yes Gas meter internal / external –internal Condensate Requirements Is a Condensate pump required ( Yes / No ) -na Condensate current termination currently acceptable ( Yes / No ) -will have to be put into kitchen sink or cored to outside If no what needs to be amended to bring it up to regs ? Is the condensate currently through the wall in 19 or 32mm ? Number of radiators at the property - Current radiator valve size and type i.e 15mm valve incorporating stem elbow to 10mm pipework - Size of pipework at radiators -6 Number of bathrooms -1 Electric shower -no Any other means of heating -no Current Cooker Type – / Gas Current Fire Type – na

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-38370
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38370
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38370
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38370
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38370
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes