## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
4 Lyndhurst Road
Stanley
DH9 7RH
CARRIED OUT ON BEHALF OF
Mr Ralph Thompson
REPORT NUMBER: 23-38423
DATE OF REPORT: 16/10/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-38423
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Mr Ralph Thompson
Address | 4 Lyndhurst Road
Stanley
County Durham
DH9 7RH
Site Address | 4 Lyndhurst Road
Stanley
DH9 7RH
Carried Out On | 16/10/2023
Survey Completed By | John Bolton
SECTION 2: Introduction
Carry out annual gas saftey check

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-38423
SECTION 3: Report
Fitted a carbon monoxide alarm and fitted new condensate trap and seal

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-38423
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38423
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38423
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38423
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38423
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes