## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Thomas Swan
Rotary Way
Consett
DH8 7ND
CARRIED OUT ON BEHALF OF
Thomas Swan & Co Ltd
REPORT NUMBER: 23-38476
DATE OF REPORT: 17/10/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-38476
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Thomas Swan & Co Ltd
Address | Rotary Way
Consett
Co Durham
DH8 7ND
Site Address | Thomas Swan
Rotary Way
Consett
DH8 7ND
Carried Out On | 17/10/2023
Survey Completed By | John Bolton
SECTION 2: Introduction
Repairs as per Gary Robertson

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-38476
SECTION 3: Report
Boiler was had leaked its pressure out through auto air vents and the seal from the bottom of the heat exchanger. Replaced heat exchanger auto air vent, pump auto air vent heat exchanger seal clip and burner door seal and ran ok. Also checked that the hot water and heating works independently.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-38476
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38476
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38476
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38476
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38476
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes