## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
12 Chruch Square
Brandon
Durham
DH7 8EE
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-38505
DATE OF REPORT: 18/10/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-38505
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 12 Chruch Square
Brandon
Durham
DH7 8EE
Carried Out On | 18/10/2023
Survey Completed By | John Bolton
SECTION 2: Introduction
Reactive survey for boiler install

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-38505
SECTION 3: Report
Boiler to be replaced is an alpha cd 28c serial number 62C02600342 in the kitchen. It has a solar storage tank in the upstairs cupboard and has dual thermostats. 22mm gas supply to boiler. Pipework to radiators is 10mm with stem elbows to 15mm valves. Electric oven Electric fire Electric shower Carbon monoxide alarm in kitchen Aug 2032 Heat detector in kitchen Oct 2032 Smoke alarm in living room, downstairs hall and upstairs landing Oct 2032 Condensate goes into kitchen waste internally Horizontal flue.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-38505
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38505
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38505
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38505
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38505
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes