## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
27 Damson Place
Halifax
HX1 3PG
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 23-38516
DATE OF REPORT: 31/10/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-38516
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 27 Damson Place
Halifax
HX1 3PG
Carried Out On | 20/10/2023
Survey Completed By | James Shanley
SECTION 2: Introduction
Investigate wiring

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-38516
SECTION 3: Report
Fault with thermostat wiring… When new stat was fitted the first time we attended the system was tested and called for heating with no problem, we were then informed that an engineer had attended who also changed the thermostat which did not work, the engineer said that it had been wired as a Y plan when this was not the case when we attended. Findings: no neutral at the thermostat not as to how but this could have been when engineer attended we swapped the thermostat for a neomitis which only requires a live and switched live and retested via the call for heat all working as it should.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-38516
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38516
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38516
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38516
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38516
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes