## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
North East First Credit Union
Stanley Skills Hub
25 Front Street
DH9 0JE
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-38536
DATE OF REPORT: 26/10/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-38536
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | North East First Credit Union
Stanley Skills Hub
25 Front Street
DH9 0JE
Carried Out On | 18/10/2023, 26/10/2023
Survey Completed By | John Bolton
SECTION 2: Introduction
Please raise a job for the gas boiler to be inspected. The boiler temperature increasing then appear to hit 60 and make the vibration noise and F2 tool sign. The boiler is now switched off and they have no heating/hot water.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-38536
SECTION 3: Report
Boiler not running correctly in low burn cleaned Venturi and injector but still not igniting correctly traced fault to gas valve supposed to get 4k on solenoid but only reading 1.5 new gas valve required also requires the two case cover screws as they were missing when I arrived. Boiler is an ideal logic system S30 GC number 41-750-64 serial number 21566700004469 Requires gas valve 2x case screws Boiler left running. Replaced gas valve and tested working ok.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-38536
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38536
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38536
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38536
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38536
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes