## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
15 Adair Terrace
Mill Road
Chopwell
NE17 7HA
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 23-38601
DATE OF REPORT: 20/10/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-38601
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 15 Adair Terrace
Mill Road
Chopwell
NE17 7HA
Carried Out On | 20/10/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Leak in property

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-38601
SECTION 3: Report
RB- 20/10/23 - inspected ceiling in property which had stoped leaking and started to dry up. Looking in loft and water signs coming down chimney breast. FOW- Shane to attend tomorrow to repairs. Finished job at 10pm

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-38601
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38601
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38601
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38601
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38601
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes