## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
8 Aged Miners Homes
North Hylton Road
Sunderland
SR5 5DA
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 23-38603
DATE OF REPORT: 20/10/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-38603
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 8 Aged Miners Homes
North Hylton Road
Sunderland
SR5 5DA
Carried Out On | 20/10/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
No Heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-38603
SECTION 3: Report
RB- 20/10/23- Inspected boiler with f28 fault. Checked condensate, meter credit, boiler pressure, could hear sparker clicking in but couldn’t get it on. Reset and tuned off and back on but still wouldn’t come back on. Possible gas valve fault. Tenant said they would be okay without over the weekend. Did not want fan heaters. FOW- engineer to reattend with gas valve- Gc no- 47-044-79

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-38603
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38603
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38603
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38603
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38603
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes