## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
17 Aged Miners Homes
Four Lane Ends
Hetton Le Hole
DH5 0BA
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 23-38616
DATE OF REPORT: 22/10/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-38616
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 17 Aged Miners Homes
Four Lane Ends
Hetton Le Hole
DH5 0BA
Carried Out On | 22/10/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Leaking boiler

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-38616
SECTION 3: Report
RB-22/10/23- arrived on site to find boiler working hut leaking from case. Removed casing and then the further silver casing to discover that the expansion vessel had failed and was leaking into the boiler. Boiler switched off and tenner made aware someone will be round tomorrow to replace. Tenner has electric shower and heater. Boiler gc- 47-393-48 FOW- engineer to pick up expansion vessel and replace.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-38616
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38616
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38616
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38616
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38616
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes