## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Castle Close ( Flat 22 )
Fellside Park
Whickham
NE16 4HU
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 23-38656
DATE OF REPORT: 23/10/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-38656
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | Castle Close ( Flat 22 )
Fellside Park
Whickham
NE16 4HU
Carried Out On | 23/10/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
No Heating / Hw

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-38656
SECTION 3: Report
RB-23/10/23 - went to site to find everything okay in plant room, went up to flat 22 and rads were cold. Tried to change the hand of pumps but didn’t work. Went round and vented communal rads. Got air out of some of them. Checked back in with flats but still cold. Offered heaters but said it would be okay. Potential airlock in system.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-38656
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38656
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38656
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38656
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38656
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes