## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
29 Dunelm Way
Leadgate
Conestt
DH8 7QS
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-38695
DATE OF REPORT: 17/11/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-38695
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 29 Dunelm Way
Leadgate
Conestt
DH8 7QS
Carried Out On | 01/11/2023
Survey Completed By | Phillip Rogerson
SECTION 2: Introduction
Please survey for rads in property - all 10 rads, sizes and images please

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-38695
SECTION 3: Report
Full Heating Section (Measure pipe and trunking accurately ) 22mm Pipe Required in meters - 15mm Pipe Required in meters - Talon Trunking 15mm double required - Talon Trunking 22mm double required - Talon Trunking external corners & Size - Talon Trunking internal corners & Size - Talon Trunking End Caps & Size - Talon Trunking connectors & Size - Radiator 1 - Location (Kitchen, Living Room) - Porch Room size (Width, Length & Height) 1.5x1.8 Window Size M2- na Door Size M2 - 1.9x0.9 Number Of External Walls - 3 Length of External Wall - 4.8 Number Of Internal Wall - 1 Length Of Internal Wall - 1.5 Number Of Party Wall - na Length Of Party Wall - na Ceiling height - 2m Current Rad size - 700x500 Current Rad type (Single, Double, DPX ) SC Max Rad size if radiator is to be increased - Radiator 2 - Location (Kitchen, Living Room) - Livingroom Room size (Width, Length & Height) 4.2x5 Window Size M2- 1.2x3 Door Size M2 - 1.9x0.8 Number Of External Walls - 2 Length of External Wall - 9.2 Number Of Internal Wall - 1 Length Of Internal Wall - 5 Number Of Party Wall - 1 Length Of Party Wall - 4.2 Ceiling height - 2.4 Current Rad size - 400x1700 Current Rad type (Single, Double, DPX ) DPX Max Rad size if radiator is to be increased - Radiator 3 - Location (Kitchen, Living Room) - kitchen Room size (Width, Length & Height) 3.8x3.8 Window Size M2- 1.2x1.9 Door Size M2 - 1.9 x 0.8 Number Of External Walls - 1 Length of External Wall - 3.8 Number Of Internal Wall - 2 Length Of Internal Wall - 7.6 Number Of Party Wall - 1 Length Of Party Wall - 3.8 Ceiling height - 2.4 Current Rad size - 700x500 Current Rad type (Single, Double, DPX ) DPX Max Rad size if radiator is to be increased - Radiator 4 - Location (Kitchen, Living Room) - Hall Room size (Width, Length & Height) 2.4x4.2 Window Size M2- na Door Size M2 - 1.9x0.9 Number Of External Walls - 2 Length of External Wall - 6.6 Number Of Internal Wall - 2 Length Of Internal Wall - 6.6 Number Of Party Wall - 0 Length Of Party Wall - na Ceiling height - 2.4 Current Rad size - 700x600 Current Rad type (Single, Double, DPX ) DPX Max Rad size if radiator is to be increased - Radiator 5 - Location (Kitchen, Living Room) - Bathroom Room size (Width, Length & Height) 3.2x2.8 Window Size M2- 1.2x1.2 Door Size M2 - 1.9x0.9 Number Of External Walls - 2 Length of External Wall - 6 Number Of Internal Wall - 2 Length Of Internal Wall - 6 Number Of Party Wall - na Length Of Party Wall - na Ceiling height - 2.4 Current Rad size - 700x400 Current Rad type (Single, Double, DPX ) SC Max Rad size if radiator is to be increased - Radiator 6 - Location (Kitchen, Living Room) - Bedroom 1 Room size (Width, Length & Height) 3.2x3 Window Size M2- 1.2x2.6 Door Size M2 - 1.9x0.8 Number Of External Walls - 1 Length of External Wall - 3.2 Number Of Internal Wall - 2 Length Of Internal Wall - 6.2 Number Of Party Wall - 1 Length Of Party Wall - 3 Ceiling height - 2.4 Current Rad size - 500x1100 Current Rad type (Single, Double, DPX ) SC Max Rad size if radiator is to be increased - Radiator 7 - Location (Kitchen, Living Room) - Bedroom 2 Room size (Width, Length & Height) 3.5x2.5 Window Size M2- 1.2x3 Door Size M2 - 1.8x0.8 Number Of External Walls - 1 Length of External Wall - 3.5 Number Of Internal Wall - 2 Length Of Internal Wall - 6 Number Of Party Wall - 1 Length Of Party Wall - 3 Ceiling height - 2.4 Current Rad size - 500x1100 Current Rad type (Single, Double, DPX ) SC Max Rad size if radiator is to be increased - Radiator 8 - Location (Kitchen, Living Room) - Bedroom 3 Room size (Width, Length & Height) 2.5x3 Window Size M2- 1.2x1.2 Door Size M2 - 1.9x0.8 Number Of External Walls - 2 Length of External Wall - 5.5 Number Of Internal Wall - 2 Length Of Internal Wall - 5.5 Number Of Party Wall - na Length Of Party Wall - na Ceiling height - 2.4 Current Rad size - 500x600 Current Rad type (Single, Double, DPX ) SC Max Rad size if radiator is to be increased - Radiator 9 - Location (Kitchen, Living Room) - Room size (Width, Length & Height) Window Size M2- Door Size M2 - Number Of External Walls - Length of External Wall - Number Of Internal Wall - Length Of Internal Wall - Number Of Party Wall - Length Of Party Wall - Ceiling height - Current Rad size - Current Rad type (Single, Double, DPX ) Max Rad size if radiator is to be increased - Radiator 10 - Location (Kitchen, Living Room) - Room size (Width, Length & Height) Window Size M2- Door Size M2 - Number Of External Walls - Length of External Wall - Number Of Internal Wall - Length Of Internal Wall - Number Of Party Wall - Length Of Party Wall - Ceiling height - Current Rad size - Current Rad type (Single, Double, DPX ) Max Rad size if radiator is to be increased - Radiator 11 - Location (Kitchen, Living Room) - Room size (Width, Length & Height) Window Size M2- Door Size M2 - Number Of External Walls - Length of External Wall - Number Of Internal Wall - Length Of Internal Wall - Number Of Party Wall - Length Of Party Wall - Ceiling height - Current Rad size - Current Rad type (Single, Double, DPX ) Max Rad size if radiator is to be increased - Radiator 12 - Location (Kitchen, Living Room) - Room size (Width, Length & Height) Window Size M2- Door Size M2 - Number Of External Walls - Length of External Wall - Number Of Internal Wall - Length Of Internal Wall - Number Of Party Wall - Length Of Party Wall - Ceiling height - Current Rad size - Current Rad type (Single, Double, DPX ) Max Rad size if radiator is to be increased - Radiator 13 - Location (Kitchen, Living Room) - Room size (Width, Length & Height) Window Size M2- Door Size M2 - Number Of External Walls - Length of External Wall - Number Of Internal Wall - Length Of Internal Wall - Number Of Party Wall - Length Of Party Wall - Ceiling height - Current Rad size - Current Rad type (Single, Double, DPX ) Max Rad size if radiator is to be increased - Radiator 14 - Location (Kitchen, Living Room) - Room size (Width, Length & Height) Window Size M2- Door Size M2 - Number Of External Walls - Length of External Wall - Number Of Internal Wall - Length Of Internal Wall - Number Of Party Wall - Length Of Party Wall - Ceiling height - Current Rad size - Current Rad type (Single, Double, DPX ) Max Rad size if radiator is to be increased - Radiator 15 - Location (Kitchen, Living Room) - Room size (Width, Length & Height) Window Size M2- Door Size M2 - Number Of External Walls - Length of External Wall - Number Of Internal Wall - Length Of Internal Wall - Number Of Party Wall - Length Of Party Wall - Ceiling height - Current Rad size - Current Rad type (Single, Double, DPX ) Max Rad size if radiator is to be increased -

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-38695
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38695
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38695
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38695
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38695
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes