## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1 Redburn View
Bardon Mill
Hexham
NE47 7BR
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-38731
DATE OF REPORT: 26/10/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-38731
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 1 Redburn View
Bardon Mill
Hexham
NE47 7BR
Carried Out On | 26/10/2023
Survey Completed By | John Bolton
SECTION 2: Introduction
Baxi solar thermal repair Emergency no heat / HW

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-38731
SECTION 3: Report
Water was to hot for the tenant when I arrived so replaced the old capillary thermostat with the new unused thermostat on the lower element and set the thermostat to 4.5 60 degrees. Traced fault on solar thermal to faulty roof stat fitted new sensor to test. Replaced with the old one and it started working again no parts needed. Topped up expansion vessel and called baxi technical to talk to them regarding wiring. Waited over an hour called twice to chase so had to leave for my next job will make notes when I speak to baxi but all up and running now.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-38731
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38731
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38731
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38731
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38731
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes