## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
3 Arbor Close
Huntington
York
YO32 3GA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-38827
DATE OF REPORT: 31/10/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-38827
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 3 Arbor Close
Huntington
York
YO32 3GA
Carried Out On | 31/10/2023
Survey Completed By | John Bolton
SECTION 2: Introduction
UNABLE TO CONTROLE THE HEAT IN ALL ROOMS Please confirm appointment with Adam 01904 750499

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-38827
SECTION 3: Report
Heating has two zone valves left hand side and right hand side left hand side zone valve was wired in with the boiler right hand side wasn’t wired in and just set to manual wired it back in and tested working ok.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-38827
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38827
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38827
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38827
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38827
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes