## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
West Way ( Communal Building )
West Way
South Shields
NE33 4SR
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-38920
DATE OF REPORT: 21/11/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-38920
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | West Way ( Communal Building )
West Way
South Shields
NE33 4SR
Carried Out On | 01/11/2023, 10/11/2023, 21/11/2023
Survey Completed By | John Bolton
SECTION 2: Introduction
Please turn on the heating to the building housing officer 07804002806.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-38920
SECTION 3: Report
Ct 1/11 Pump not running on heating on arival went through diagnostic with technician from manufacturer diagnosed as pcb. Part not made no more and no replacement. Turned power supply off whilst fitting casing back on turned on and now working. 10/11/23 GP Faulty pcb this one is still obtainable. I have the part number so will get 1 ordered 21/11/23 JB Replaced pcb and left boiler heating up.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-38920
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38920
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38920
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38920
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38920
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes